## O3 L1-2 ¦ MM-YYYY
Ozone Data Verification Checklist | [11 empty] | <Document Control ID>
Organization: |  | <Agency/Section> | [5 empty] | Data Reviewed: |  | <Month> | <Year> | Revision 0.0
Monitor(s) Reviewed: |  | <Site Name(s)/Monitor ID(s)> | [9 empty] | Last revised: July 2021
The following is a checklist designed to provide assistance to the Levels 1 and 2 data reviewers of the associated ozone dataset. The checklist should be used along with professional judgment and experience with the goal of verifying data in a consistent and holistic manner. Generally, Level 1 and 2 data reviewers (e.g., site operators, QA staff) verify data on a daily, monthly, and/or quarterly frequency to distinguish measurements from measurement errors/interferences and to ensure data meets QC/QA requirements and the objectives of the data's intended use. To complete this checklist, the Level 1 data verifier must answer each question with a "X" in the "Yes", "No", or "N/A" column wherever an "L1" is found in the corresponding row. Similarly, the Level 2 data verifier must answer each question that contains "L2" in the corresponding row. After answering each question, please provide comments in the "Comments" field in the corresponding row as needed. Information in the column second from the right is meant to detail the next steps to take if any problems are identified while reviewing the dataset. Some problems may highlight bigger issues related to the agency's quality system or personnel training that must be addressed. For example, if an issue in the applicable QAPP or SOP is found, the document(s) should be revised as soon as possible to resolve that particular issue. Hyperlinks to relevent information are provided in the column furthest to the right. Once all questions have been answered, please provide your name, signature or initials, and date of the completion of this data review at the end of the checklist. Please provide a copy of the completed checklist and, if applicable, any associated paperwork (e.g., data worksheets, QC check forms, logbook documentation) to the next level data reviewer (i.e., Level 2 or Level 3). Retain a copy of the completed checklist for your records either in hard-copy or in digital copy that is "locked" to any future edits to preserve the original record.
Ozone Criteria (Levels 1-2) |  |  | L1/2 | Yes | No | N/A | Comments |  | Recommended Response to Criteria Not Met |  |  | References
Critical Criteria | Levels 1 & 2: 1-point QC checks completed according to the SOP and at least every 14 days? |  | L1 | [5 empty] | If not completed according to SOP, check should be considered invalid and documented as such. If checks were not completed every 14 days, determine and document reason(s) why and confirm checks that did occur passed acceptance criteria. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Levels 1 & 2: 1-point QC points within ± 7.1% (or ± 1.5 ppb, whichever is greater) of the transfer standard value? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 58, Appendix A, Section 2.3.1.2
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Level 2: 1-point QC check percent differences calculated correctly? At least 10% and a minimum of 1 (whichever is greater) of 1-point QC checks should be verified. |  | L2 | [5 empty] | Review all 1-point QC check calculations. Confirm checks did pass acceptance criteria. If check(s) exceeded acceptance criteria, mark impacted data as void. If other compelling evidence exists to validate the data, document such information. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix A, Section 4.1.1
| Levels 1 & 2: Zero/span checks completed according to the SOP and at least every 14 days? |  | L1 | [5 empty] | If not completed according to SOP, check should be considered invalid and documented as such. If checks were not completed every 14 days, determine and document reason(s) why and confirm checks that did occur passed acceptance criteria. |  |  | QA Handbook Volume II, Section 12.3 and Appendix D
L2
| Levels 1 & 2: Zero points within ± 3.1 ppb over 24 hours? Zero points within ± 5.1 ppb over >24 hours - 14 days? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
|  |  | L2 | [8 empty] | Revision to the Zero Drift Acceptance Criteria in the QA Handbook (6/3/14)
| Levels 1 & 2: Span points within ± 7.1% of the transfer standard value? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
L2
| Level 2: Zero/span point differences calculated correctly? At least 10% and a minimum of 1 (whichever is greater) each of zero and span checks should be verified. |  | L2 | [5 empty] | Review all zero and/or span check calculations. Confirm checks did pass acceptance criteria. If check(s) exceeded acceptance criteria, mark impacted data as void. If other compelling evidence exists to validate the data, document such information. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix A, Section 4.1.1
Operational Criteria | Levels 1 & 2: Shelter temperature maintained within the allowable FRM/FEM temperature range? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | Technical Note - Clarifications and Guidance on Shelter Temperature Guidance for Ambient Air Pollutant Methods (3/8/18)
L2
| Levels 1 & 2: Shelter temperature within ± 2.1°C standard deviation over 24 hours? |  | L1 | [5 empty] | Document this issue. Determine if data may have been impacted. If so, data should be flagged in AQS. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
L2
| Level 2: Shelter temperature standard deviations calculated correctly? At least 10% and a minimum of 1 (whichever is greater) 24-hour period(s) should be verified. |  | L2 | [5 empty] | Review all shelter temperature standard deviation calculations. Determine if data may have been impacted. If so, data should be flagged in AQS. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Calibration or Multi-point Verification completed according to the SOP and within the past 182 days (or 365 days, if zero/span checks are performed daily)? |  | L1 | [5 empty] | If not completed according to SOP, calibration/verification should be considered invalid and documented as such. Associated data may need to be flagged due to an invalid calibration. If other compelling evidence exists to validate the data, document such information. If calibrations/verifications were not completed on schedule, determine and document reason(s) why. Confirm most recent calibration/verification that did occur passed acceptance criteria. |  |  | 40 CFR Part 50, Appendix D
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Levels 1 & 2: Calibration(s) and/or Multi-point Verification(s) results within ± 2.1% (or ± 1.5 ppb, whichever is greater) of the best-fit straight line? Slope within 1 ± 0.05? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". (EPA recommends the DASC tool be used for these calculations) |  | L1 | [5 empty] | Mark impacted concentration data as needing further review. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix D, Section 4.5.5.6
|  |  | L2 | [8 empty] | EPA Data Assessment Statistical Calculator (DASC) tool
| Level 2: Calibration(s) and/or Multi-point Verification(s) calculated correctly? At least 10% and a minimum of 1 (whichever is greater) should be verified. |  | L2 | [5 empty] | Review all calibration/verification calculations. Determine if data may have been impacted. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Maintenance performed according to the SOP and on schedule for the monitor, transfer standard, zero air source, and sample line/manifold? (See applicable maintenance checklist and/or SOP) |  | L1 | [5 empty] | Document this issue. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Appendix D
L2
Other Information | Level 1: All data logger status flags appropriate and accounted for in the dataset with AQS qualifier flags or null codes, as needed? |  | L1 | [5 empty] | Document all data logger flags observed. Determine if data may have been impacted.
| Level 1: Adequate and accurate logbook, strip chart, QC/QA, maintenance, and local significant/exceptional event documentation provided to recreate the events recorded? Level 2 only: At least 10% and a minimum of 1 (whichever is greater) of each record should be verified. |  | L1 | [5 empty] | Collect missing documentation (if it exists) for data review. If certain documentation does not exist, note this issue.
|  |  | L2 | [5 empty] | Review all documentation. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Concentration data gaps investigated and resolved? |  | L1 | [5 empty] | Document all data gaps observed. Determine if valid concentrations or appropriate null codes are available to fill these data gaps. Investigate possible causes/solutions to this issue.
L2
| Data Outlier(s) (e.g., high/low concentrations) and Probable Cause(s): |  | L1
| Reason(s) for 24+ Hours of Data Loss: |  | L1
| Other instrument-specific technical criteria: | L1
L2
| Other agency-specific criteria: | L1
L2
| Other comments: | L1
L2
| Level 1 Reviewer: |  | Signature/Initials: | [5 empty] | Date:
| Level 2 Reviewer: |  | Signature/Initials: | [5 empty] | Date:

## 03 L3 ¦ MM-YYYY
Ozone Data Validation Checklist | [11 empty] | <Document Control ID>
Organization: |  | <Agency/Section> | [5 empty] | Data Reviewed: |  | <Month> | <Year> | Revision 0.0
Monitor(s) Reviewed: |  | <Site Name(s)/Monitor ID(s)> | [9 empty] | Last revised: July 2021
The following is a checklist designed to provide assistance to the Level 3 data reviewer (validator) of the associated ozone dataset. The checklist should be used along with professional judgment and experience with the goal of validating data in a consistent and holistic manner. Generally, Level 3 data reviewers (e.g., QA manager) validate data on a monthly, quarterly, and/or annual frequency to verify completion of the Level 1 & 2 data reviews and ensure data is suitable for its intended use. To complete this checklist, the data validator must answer each question with a "X" in the "Yes", "No", or "N/A" column and provide comments in the "Comments" field in the corresponding row as needed. Information in the column second from the right is meant to detail the next steps to take if any problems are identified while reviewing the dataset. Some problems may highlight bigger issues related to the agency's quality system or certain personnel that must be addressed. For example, if an issue in the applicable QAPP or SOP is found, the document(s) should be revised as soon as possible to resolve that particular issue. Hyperlinks to relevent information are provided in the column furthest to the right. Once all questions have been answered, please provide your name, signature or initials, and date of the completion of this data review at the end of the checklist. Lastly, please retain a copy of the completed checklist for the agency's records either in hard-copy or in digital copy that is "locked" to any future edits to preserve the original record.
Please note: If compelling evidence is used for data decisions, EPA regional staff should be contacted for concurrence. These data decisions and associated compelling evidence must be made available to EPA regional staff as part of annual data certifications and technical systems audits.
Ozone Criteria (Level 3) |  |  |  | Yes | No | N/A | Comments |  | Agency Response to Criteria Not Met |  |  | References
Critical Criteria | Was the monitor operated in accordance with all FRM/FEM requirements provided in the method designation based on the information and documentation available? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | List of Designated Reference and Equivalent Mothods
| 1-point QC check completed at least every 14 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Confirm checks that did occur passed acceptance criteria. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
QA Handbook Volume II, Appendix D
| 1-point QC check completed according to the SOP at the correct concentration? Concentration appears stable on the strip chart (i.e., one-minute data)? Put another way, is the 1-point QC check considered valid? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentration does not appear stable, check should be considered invalid and documented as such. Invalid check results must not be uploaded to AQS. Rather, the "1C" null code should be uploaded in place of the invalid check. If not completed at the correct concentration, determine and document reason(s) why and possible solution(s). |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
Technical Note- Guidance on Statistics for Use of 1-Point QC Checks at Lower Concentrations as described in 40 CFR Part 58 Appendix A Section 3.1.1 (5/5/16)
QA Handbook Volume II, Section 10.4
| 1-point QC points within ± 7.1% (or ± 1.5 ppb, whichever is greater) of the transfer standard value? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | 40 CFR Part 58, Appendix A, Section 2.3.1.2
QA Handbook Volume II, Appendix D
| Zero/span checks completed at least every 14 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Confirm checks that did occur passed acceptance criteria. |  |  | QA Handbook Volume II, Section 12.3 and Appendix D
| Zero points within ± 3.1 ppb over 24 hours? Zero points within ± 5.1 ppb over >24 hours - 14 days? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
Revision to the Zero Drift Acceptance Criteria in the QA Handbook (6/3/14)
| Span points within ± 7.1% of the transfer standard value? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
| Zero/span points completed according to the SOP at the correct concentrations? Concentrations appear stable on the strip chart (i.e., one-minute data)? Put another way, are the zero/span checks considered valid? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentration does not appear stable, check should be considered invalid and documented as such. Invalid checks must not be uploaded to AQS. If not completed at the correct concentration, determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Section 10.4
Operational Criteria | Shelter temperature maintained within the allowable FRM/FEM temperature range? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | Technical Note - Clarifications and Guidance on Shelter Temperature Guidance for Ambient Air Pollutant Methods (3/8/18)
| Shelter temperature within ± 2.1°C standard deviation over 24 hours? | [7 empty] | Document this issue. Determine if data may have been impacted. If so, qualify the data in AQS. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
| Shelter temperature probe audited within the past 6 months using a NIST-traceable standard? | [7 empty] | Document this issue. Confirm checks or audits that did occur passed acceptance criteria. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
| Calibration or Multi-point Verification completed according to the SOP and within the past 182 days (or 365 days, if zero/span checks are performed daily)? | [7 empty] | Confirm most recent calibration/verification that did occur passed acceptance criteria. Determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Appendix D
| Calibration or Multi-point Verification completed according to the SOP at the correct concentrations? Concentrations appear stable on the strip chart (i.e., one-minute data)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentrations do not appear stable, calibration/verification should be considered invalid and documented as such. Associated data may need to be qualified or invalidated in AQS due to an invalid calibration. If other compelling evidence exists to validate the data, document such information. If not completed at the correct concentrations, determine and document reason(s) why and possible solution(s). |  |  | 40 CFR Part 50, Appendix D
QA Handbook Volume II, Sections 12.3 and 10.4
| Calibration(s) and/or Multi-point Verification(s) results within ± 2.1% (or ± 1.5 ppb, whichever is greater) of the best-fit straight line? Slope within 1 ± 0.05? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". (EPA recommends the DASC tool be used for these calculations) | [7 empty] | Associated data may need to be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix D, Section 4.5.5.6
EPA Data Assessment Statistical Calculator (DASC) tool
| No more than 3 calibrations (i.e., monitor adjustments) completed over the past 6 months? | [7 empty] | Determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Section 12.4
| Performance evaluation audit completed within the past 365 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Schedule an audit as soon as possible. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.2
| If a performance evaluation audit was completed in the past 3 months: Performance evaluation audit completed according to the SOP at the correct concentration levels? Concentrations appear stable on the strip chart (i.e., one-minute data)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentrations do not appear stable, audit should be considered invalid and documented as such. Invalid audits must not be uploaded to AQS. If not completed at the correct concentrations, determine and document reason(s) why and possible solution(s). Determine if a follow-up audit must be scheduled so that the correct audit concentrations may be assessed to meet CFR requirements. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.2.1
Technical Note- Guidance on Identifying Annual PE Audit Levels Using Method Detection Limits and the 99th Percentile (5/3/16)
QA Handbook Volume II, Section 10.4
| If a performance evaluation audit was completed in the past 3 months: Performance evaluation audit levels 3-10 within ± 15.1% of the independent audit standard? Audit levels 1-2 within ± 1.5 ppb or ± 15.1% of the independent audit standard, whichever is greater? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
Technical Guidance on Asessment Statistics for Annual Performance Evaluations (2/17/11)
| QC and performance evaluation transfer standards (e.g., photometers) certified according to the SOP and within the past 182 or 365 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). QC check/audit completed with expired standards should be considered invalid and documented as such. Invalid checks/audits must not be uploaded to AQS. Rather, the "1C" null code should be uploaded in place of invalid 1-pt QC checks. For QC standards with expired certifications, determine if associated concentration data should be qualifed or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | Ozone Transfer Standard Guidance Document, Section 3
QA Handbook Volume II, Appendix D
| If an NPAP audit was completed in the past 3 months: NPAP audit levels 3-10 within ± 10.1% of the independent audit standard? NPAP audit levels 1-2 within ± 1.5 ppb of the independent audit standard? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
| Maintenance performed according to the SOP and on schedule for the monitor, transfer standard, zero air source, and sample line/manifold? (See applicable maintenance checklist and/or SOP) | [7 empty] | Document this issue. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Appendix D
Systematic | All siting criteria associated with the monitor (e.g., sample residence time, probe material, monitor probe distance to drip lines and obstacles, unobstructed airflow) met based on the most recent documented siting criteria evaluation? | [7 empty] | Document this issue. Determine the impact to associated data and if such data should be qualified in AQS. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix E
| If the sample residence time was calculated in the past month: Most recent monitor(s) sample residence time(s) calculated correctly? At least 10% and a minimum of 1 (whichever is greater) should be verified. | [7 empty] | Review recent sample residence time calculations for all monitors. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | Technical Note - Clarifications and Guidance on Residence Time Determination (6/3/19) & Associated Worksheet
Other Information | Concentration data gaps present? If so, was an investigation completed to determine the reason(s) why? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Document all data gaps observed. Determine if valid concentrations or appropriate null codes are available to fill these data gaps. Investigate possible causes/solutions to this issue.
| Maximum, minimum & at least 1 random concentration validated in the dataset as accurate in comparison with the data acquisition software? | [7 empty] | Increase the number of concentrations reviewed to determine the extent of the issue. Determine the impact to associated data. Investigate possible causes/solutions to this issue.
| Potential data outliers or unusual data (e.g., high/low concentrations) present? If so, was an investigation completed to determine the cause(s)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Document all outliers/unusual data points observed. Investigate possible causes/solutions to this issue. For example, review all available documentation and determine if data may have been impacted by a local event or QC procedure. Determine if concentration data should be qualified or invalidated in AQS. Unusually high/low concentration data should be handled with special care; if such data are invalidated, all necessary supporting documentation should be in place. Alert local management/EPA regarding any NAAQS exceedance(s).
| All logbook, strip chart, QC/QA, maintenance, and local significant/exceptional event documentation reviewed and taken into consideration? | [7 empty] | Collect missing documentation (if it exists). If certain documentation does not exist, note this issue. Investigate possible causes/solutions to this issue.
| Results of QC procedures from the previous dataset reviewed for possible impacts to the current dataset under review? | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS.
| QC procedures and maintenance routinely completed at times (i.e., overnight or early morning hours) that would cause minimal impact to daily data completeness? | [7 empty] | Document this issue. Determine if data statistics or design values may have been impacted. Investigate possible causes/solutions to this issue.
| If 24+ hours of data loss, was there an impact to the monitor's design value? | [7 empty] | Document this issue. Investigate possible causes/solutions to this issue.
Reason(s) for 24+ Hours of Data Loss:
Trends in the concentration dataset:
Trends in the QC/QA dataset:
Other agency-specific criteria:
Other comments:
| Level 3 Reviewer: |  | Signature/Initials: | [5 empty] | Date:

## CO L1-2 ¦ MM-YYYY
Carbon Monoxide Data Verification Checklist | [11 empty] | <Document Control ID>
Organization: |  | <Agency/Section> | [5 empty] | Data Reviewed: |  | <Month> | <Year> | Revision 0.0
Monitor(s) Reviewed: |  | <Site Name(s)/Monitor ID(s)> | [9 empty] | Last revised: July 2021
The following is a checklist designed to provide assistance to the Levels 1 and 2 data reviewers of the associated carbon monoxide dataset. The checklist should be used along with professional judgment and experience with the goal of verifying data in a consistent and holistic manner. Generally, Level 1 and 2 data reviewers (e.g., site operators, QA staff) verify data on a daily, monthly, and/or quarterly frequency to distinguish measurements from measurement errors/interferences and to ensure data meets QC/QA requirements and the objectives of the data's intended use. To complete this checklist, the Level 1 data verifier must answer each question with a "X" in the "Yes", "No", or "N/A" column wherever an "L1" is found in the corresponding row. Similarly, the Level 2 data verifier must answer each question that contains "L2" in the corresponding row. After answering each question, please provide comments in the "Comments" field in the corresponding row as needed. Information in the column second from the right is meant to detail the next steps to take if any problems are identified while reviewing the dataset. Some problems may highlight bigger issues related to the agency's quality system or personnel training that must be addressed. For example, if an issue in the applicable QAPP or SOP is found, the document(s) should be revised as soon as possible to resolve that particular issue. Hyperlinks to relevent information are provided in the column furthest to the right. Once all questions have been answered, please provide your name, signature or initials, and date of the completion of this data review at the end of the checklist. Please provide a copy of the completed checklist and, if applicable, any associated paperwork (e.g., data worksheets, QC check forms, logbook documentation) to the next level data reviewer (i.e., Level 2 or Level 3). Retain a copy of the completed checklist for your records either in hard-copy or in digital copy that is "locked" to any future edits to preserve the original record.
Carbon Monoxide Criteria (Levels 1-2) |  |  | L1/2 | Yes | No | N/A | Comments |  | Recommended Response to Criteria Not Met |  |  | References
Critical Criteria | Levels 1 & 2: 1-point QC checks completed according to the SOP and at least every 14 days? |  | L1 | [5 empty] | If not completed according to SOP, check should be considered invalid and documented as such. If checks were not completed every 14 days, determine and document reason(s) why and confirm checks that did occur passed acceptance criteria. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Levels 1 & 2: 1-point QC points within ± 10.1% of the transfer standard value? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
L2
| Level 2: 1-point QC check percent differences calculated correctly? At least 10% and a minimum of 1 (whichever is greater) of 1-point QC checks should be verified. |  | L2 | [5 empty] | Review all 1-point QC check calculations. Confirm checks did pass acceptance criteria. If check(s) exceeded acceptance criteria, mark impacted data as void. If other compelling evidence exists to validate the data, document such information. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix A, Section 4.1.1
| Levels 1 & 2: Zero/span checks completed according to the SOP and at least every 14 days? |  | L1 | [5 empty] | If not completed according to SOP, check should be considered invalid and documented as such. If checks were not completed every 14 days, determine and document reason(s) why and confirm checks that did occur passed acceptance criteria. |  |  | QA Handbook Volume II, Section 12.3 and Appendix D
L2
| Levels 1 & 2: Zero points within ± 0.41 ppm over 24 hours? Zero points within ± 0.61 ppm over >24 hours - 14 days? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
|  |  | L2 | [8 empty] | Revision to the Zero Drift Acceptance Criteria in the QA Handbook (6/3/14)
| Levels 1 & 2: Span points within ± 10.1% of the transfer standard value? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
L2
| Level 2: Zero/span point differences calculated correctly? At least 10% and a minimum of 1 (whichever is greater) each of zero and span checks should be verified. |  | L2 | [5 empty] | Review all zero and/or span check calculations. Confirm checks did pass acceptance criteria. If check(s) exceeded acceptance criteria, mark impacted data as void. If other compelling evidence exists to validate the data, document such information. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix A, Section 4.1.1
Operational Criteria | Levels 1 & 2: Shelter temperature maintained within the allowable FRM/FEM temperature range? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | Technical Note - Clarifications and Guidance on Shelter Temperature Guidance for Ambient Air Pollutant Methods (3/8/18)
L2
| Levels 1 & 2: Shelter temperature within ± 2.1°C standard deviation over 24 hours? |  | L1 | [5 empty] | Document this issue. Determine if data may have been impacted. If so, data should be flagged in AQS. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
L2
| Level 2: Shelter temperature standard deviations calculated correctly? At least 10% and a minimum of 1 (whichever is greater) 24-hour period(s) should be verified. |  | L2 | [5 empty] | Review all shelter temperature standard deviation calculations. Determine if data may have been impacted. If so, data should be flagged in AQS. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Calibration or Multi-point Verification completed according to the SOP and within the past 182 days (or 365 days, if zero/span checks are performed daily)? |  | L1 | [5 empty] | If not completed according to SOP, calibration/verification should be considered invalid and documented as such. Associated data may need to be flagged due to an invalid calibration. If other compelling evidence exists to validate the data, document such information. If calibrations/verifications were not completed on schedule, determine and document reason(s) why. Confirm most recent calibration/verification that did occur passed acceptance criteria. |  |  | 40 CFR Part 50, Appendix C
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Levels 1 & 2: Calibration(s) and/or Multi-point Verification(s) results within ± 2.1% (or ± 0.031 ppm, whichever is greater) of the best-fit straight line? Slope within 1 ± 0.05? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". (EPA recommends the DASC tool be used for these calculations) |  | L1 | [5 empty] | Mark impacted concentration data as needing further review. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix C, Section 4.4.7
|  |  | L2 | [8 empty] | EPA Data Assessment Statistical Calculator (DASC) tool
| Level 2: Calibration(s) and/or Multi-point Verification(s) calculated correctly? At least 10% and a minimum of 1 (whichever is greater) should be verified. |  | L2 | [5 empty] | Review all calibration/verification calculations. Determine if data may have been impacted. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Maintenance performed according to the SOP and on schedule for the monitor, transfer standard, zero air source, and sample line/manifold? (See applicable maintenance checklist and/or SOP) |  | L1 | [5 empty] | Document this issue. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Appendix D
L2
Other Information | Level 1: All data logger status flags appropriate and accounted for in the dataset with AQS qualifier flags or null codes, as needed? |  | L1 | [5 empty] | Document all data logger flags observed. Determine if data may have been impacted.
| Level 1: Adequate and accurate logbook, strip chart, QC/QA, maintenance, and local significant/exceptional event documentation provided to recreate the events recorded? Level 2 only: At least 10% and a minimum of 1 (whichever is greater) of each record should be verified. |  | L1 | [5 empty] | Collect missing documentation (if it exists) for data review. If certain documentation does not exist, note this issue.
|  |  | L2 | [5 empty] | Review all documentation. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Concentration data gaps investigated and resolved? |  | L1 | [5 empty] | Document all data gaps observed. Determine if valid concentrations or appropriate null codes are available to fill these data gaps. Investigate possible causes/solutions to this issue.
L2
| Data Outlier(s) (e.g., high/low concentrations) and Probable Cause(s): |  | L1
| Reason(s) for 24+ Hours of Data Loss: |  | L1
| Other instrument-specific technical criteria: | L1
L2
| Other agency-specific criteria: | L1
L2
| Other comments: | L1
L2
| Level 1 Reviewer: |  | Signature/Initials: | [5 empty] | Date:
| Level 2 Reviewer: |  | Signature/Initials: | [5 empty] | Date:

## CO L3 ¦ MM-YYYY
Carbon Monoxide Data Validation Checklist | [11 empty] | <Document Control ID>
Organization: |  | <Agency/Section> | [5 empty] | Data Reviewed: |  | <Month> | <Year> | Revision 0.0
Monitor(s) Reviewed: |  | <Site Name(s)/Monitor ID(s)> | [9 empty] | Last revised: July 2021
The following is a checklist designed to provide assistance to the Level 3 data reviewer (validator) of the associated carbon monoxide dataset. The checklist should be used along with professional judgment and experience with the goal of validating data in a consistent and holistic manner. Generally, Level 3 data reviewers (e.g., QA manager) validate data on a monthly, quarterly, and/or annual frequency to verify completion of the Level 1 & 2 data reviews and ensure data is suitable for its intended use. To complete this checklist, the data validator must answer each question with a "X" in the "Yes", "No", or "N/A" column and provide comments in the "Comments" field in the corresponding row as needed. Information in the column second from the right is meant to detail the next steps to take if any problems are identified while reviewing the dataset. Some problems may highlight bigger issues related to the agency's quality system or certain personnel that must be addressed. For example, if an issue in the applicable QAPP or SOP is found, the document(s) should be revised as soon as possible to resolve that particular issue. Hyperlinks to relevent information are provided in the column furthest to the right. Once all questions have been answered, please provide your name, signature or initials, and date of the completion of this data review at the end of the checklist. Lastly, please retain a copy of the completed checklist for the agency's records either in hard-copy or in digital copy that is "locked" to any future edits to preserve the original record.
Please note: If compelling evidence is used for data decisions, EPA regional staff should be contacted for concurrence. These data decisions and associated compelling evidence must be made available to EPA regional staff as part of annual data certifications and technical systems audits.
Carbon Monoxide Criteria (Level 3) |  |  |  | Yes | No | N/A | Comments |  | Agency Response to Criteria Not Met |  |  | References
Critical Criteria | Was the monitor operated in accordance with all FRM/FEM requirements provided in the method designation based on the information and documentation available? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | List of Designated Reference and Equivalent Mothods
| 1-point QC check completed at least every 14 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Confirm checks that did occur passed acceptance criteria. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
QA Handbook Volume II, Appendix D
| 1-point QC check completed according to the SOP at the correct concentration? Concentration appears stable on the strip chart (i.e., one-minute data)? Put another way, is the 1-point QC check considered valid? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentration does not appear stable, check should be considered invalid and documented as such. Invalid check results must not be uploaded to AQS. Rather, the "1C" null code should be uploaded in place of the invalid check. If not completed at the correct concentration, determine and document reason(s) why and possible solution(s). |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
Technical Note- Guidance on Statistics for Use of 1-Point QC Checks at Lower Concentrations as described in 40 CFR Part 58 Appendix A Section 3.1.1 (5/5/16)
QA Handbook Volume II, Section 10.4
| 1-point QC points within ± 10.1% of the transfer standard value? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
| Zero/span checks completed at least every 14 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Confirm checks that did occur passed acceptance criteria. |  |  | QA Handbook Volume II, Section 12.3 and Appendix D
| Zero points within ± 0.41 ppm over 24 hours? Zero points within ± 0.61 ppm over >24 hours - 14 days? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
Revision to the Zero Drift Acceptance Criteria in the QA Handbook (6/3/14)
| Span points within ± 10.1% of the transfer standard value? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
| Zero/span points completed according to the SOP at the correct concentrations? Concentrations appear stable on the strip chart (i.e., one-minute data)? Put another way, are the zero/span checks considered valid? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentration does not appear stable, check should be considered invalid and documented as such. Invalid checks must not be uploaded to AQS. If not completed at the correct concentration, determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Section 10.4
Operational Criteria | Shelter temperature maintained within the allowable FRM/FEM temperature range? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | Technical Note - Clarifications and Guidance on Shelter Temperature Guidance for Ambient Air Pollutant Methods (3/8/18)
| Shelter temperature within ± 2.1°C standard deviation over 24 hours? | [7 empty] | Document this issue. Determine if data may have been impacted. If so, qualify the data in AQS. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
| Shelter temperature probe audited within the past 6 months using a NIST-traceable standard? | [7 empty] | Document this issue. Confirm checks or audits that did occur passed acceptance criteria. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
| Calibration or Multi-point Verification completed according to the SOP and within the past 182 days (or 365 days, if zero/span checks are performed daily)? | [7 empty] | Confirm most recent calibration/verification that did occur passed acceptance criteria. Determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Appendix D
| Calibration or Multi-point Verification completed according to the SOP at the correct concentrations? Concentrations appear stable on the strip chart (i.e., one-minute data)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentrations do not appear stable, calibration/verification should be considered invalid and documented as such. Associated data may need to be qualified or invalidated in AQS due to an invalid calibration. If other compelling evidence exists to validate the data, document such information. If not completed at the correct concentrations, determine and document reason(s) why and possible solution(s). |  |  | 40 CFR Part 50, Appendix C
QA Handbook Volume II, Sections 12.3 and 10.4
| Calibration(s) and/or Multi-point Verification(s) results within ± 2.1% (or ± 0.031 ppm, whichever is greater) of the best-fit straight line? Slope within 1 ± 0.05? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". (EPA recommends the DASC tool be used for these calculations) | [7 empty] | Associated data may need to be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix C, Section 4.4.7
EPA Data Assessment Statistical Calculator (DASC) tool
| No more than 3 calibrations (i.e., monitor adjustments) completed over the past 6 months? | [7 empty] | Determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Section 12.4
| Performance evaluation audit completed within the past 365 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Schedule an audit as soon as possible. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.2
| If a performance evaluation audit was completed in the past 3 months: Performance evaluation audit completed according to the SOP at the correct concentration levels? Concentrations appear stable on the strip chart (i.e., one-minute data)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentrations do not appear stable, audit should be considered invalid and documented as such. Invalid audits must not be uploaded to AQS. If not completed at the correct concentrations, determine and document reason(s) why and possible solution(s). Determine if a follow-up audit must be scheduled so that the correct audit concentrations may be assessed to meet CFR requirements. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.2.1
Technical Note- Guidance on Identifying Annual PE Audit Levels Using Method Detection Limits and the 99th Percentile (5/3/16)
QA Handbook Volume II, Section 10.4
| If a performance evaluation audit was completed in the past 3 months: Performance evaluation audit levels 3-10 within ± 15.1% of the independent audit standard? Audit levels 1-2 within ± 0.031 ppm or ± 15.1% of the independent audit standard, whichever is greater? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
Technical Guidance on Asessment Statistics for Annual Performance Evaluations (2/17/11)
| QC and performance evaluation transfer standards (e.g., gas dilution calibrator) certified according to the SOP and within the past 365 days? QC and performance evaluation gas cylinder standards within certification (i.e., not yet expired)? | [7 empty] | Determine and document reason(s) why and possible solution(s). QC check/audit completed with expired standards should be considered invalid and documented as such. Invalid checks/audits must not be uploaded to AQS. Rather, the "1C" null code should be uploaded in place of invalid 1-pt QC checks. For QC standards with expired certifications, determine if associated concentration data should be qualifed or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix C, Section 4
QA Handbook Volume II, Appendix D
| If an NPAP audit was completed in the past 3 months: NPAP audit levels 3-10 within ± 15.1% of the independent audit standard? NPAP audit levels 1-2 within ± 0.031 ppm of the independent audit standard? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
| Maintenance performed according to the SOP and on schedule for the monitor, transfer standard, zero air source, and sample line/manifold? (See applicable maintenance checklist and/or SOP) | [7 empty] | Document this issue. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Appendix D
Systematic | All siting criteria associated with the monitor (e.g., monitor probe distance to drip lines and obstacles, unobstructed airflow) met based on the most recent documented siting criteria evaluation? | [7 empty] | Document this issue. Determine the impact to associated data and if such data should be qualified in AQS. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix E
Other Information | Concentration data gaps present? If so, was an investigation completed to determine the reason(s) why? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Document all data gaps observed. Determine if valid concentrations or appropriate null codes are available to fill these data gaps. Investigate possible causes/solutions to this issue.
| Maximum, minimum & at least 1 random concentration validated in the dataset as accurate in comparison with the data acquisition software? | [7 empty] | Increase the number of concentrations reviewed to determine the extent of the issue. Determine the impact to associated data. Investigate possible causes/solutions to this issue.
| Potential data outliers or unusual data (e.g., high/low concentrations) present? If so, was an investigation completed to determine the cause(s)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Document all outliers/unusual data points observed. Investigate possible causes/solutions to this issue. For example, review all available documentation and determine if data may have been impacted by a local event or QC procedure. Determine if concentration data should be qualified or invalidated in AQS. Unusually high/low concentration data should be handled with special care; if such data are invalidated, all necessary supporting documentation should be in place. Alert local management/EPA regarding any NAAQS exceedance(s).
| All logbook, strip chart, QC/QA, maintenance, and local significant/exceptional event documentation reviewed and taken into consideration? | [7 empty] | Collect missing documentation (if it exists). If certain documentation does not exist, note this issue. Investigate possible causes/solutions to this issue.
| Results of QC procedures from the previous dataset reviewed for possible impacts to the current dataset under review? | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS.
| QC procedures and maintenance routinely completed at times (i.e., overnight or early morning hours) that would cause minimal impact to daily data completeness? | [7 empty] | Document this issue. Determine if data statistics or design values may have been impacted. Investigate possible causes/solutions to this issue.
| If 24+ hours of data loss, was there an impact to the monitor's design value? | [7 empty] | Document this issue. Investigate possible causes/solutions to this issue.
Reason(s) for 24+ Hours of Data Loss:
Trends in the concentration dataset:
Trends in the QC/QA dataset:
Other agency-specific criteria:
Other comments:
| Level 3 Reviewer: |  | Signature/Initials: | [5 empty] | Date:

## SO2 L1-2 ¦ MM-YYYY
Sulfur Dioxide Data Verification Checklist | [11 empty] | <Document Control ID>
Organization: |  | <Agency/Section> | [5 empty] | Data Reviewed: |  | <Month> | <Year> | Revision 0.0
Monitor(s) Reviewed: |  | <Site Name(s)/Monitor ID(s)> | [9 empty] | Last revised: July 2021
The following is a checklist designed to provide assistance to the Levels 1 and 2 data reviewers of the associated sulfur dioxide dataset. The checklist should be used along with professional judgment and experience with the goal of verifying data in a consistent and holistic manner. Generally, Level 1 and 2 data reviewers (e.g., site operators, QA staff) verify data on a daily, monthly, and/or quarterly frequency to distinguish measurements from measurement errors/interferences and to ensure data meets QC/QA requirements and the objectives of the data's intended use. To complete this checklist, the Level 1 data verifier must answer each question with a "X" in the "Yes", "No", or "N/A" column wherever an "L1" is found in the corresponding row. Similarly, the Level 2 data verifier must answer each question that contains "L2" in the corresponding row. After answering each question, please provide comments in the "Comments" field in the corresponding row as needed. Information in the column second from the right is meant to detail the next steps to take if any problems are identified while reviewing the dataset. Some problems may highlight bigger issues related to the agency's quality system or personnel training that must be addressed. For example, if an issue in the applicable QAPP or SOP is found, the document(s) should be revised as soon as possible to resolve that particular issue. Hyperlinks to relevent information are provided in the column furthest to the right. Once all questions have been answered, please provide your name, signature or initials, and date of the completion of this data review at the end of the checklist. Please provide a copy of the completed checklist and, if applicable, any associated paperwork (e.g., data worksheets, QC check forms, logbook documentation) to the next level data reviewer (i.e., Level 2 or Level 3). Retain a copy of the completed checklist for your records either in hard-copy or in digital copy that is "locked" to any future edits to preserve the original record.
Sulfur Dioxide Criteria (Levels 1-2) |  |  | L1/2 | Yes | No | N/A | Comments |  | Recommended Response to Criteria Not Met |  |  | References
Critical Criteria | Levels 1 & 2: 1-point QC checks completed according to the SOP and at least every 14 days? |  | L1 | [5 empty] | If not completed according to SOP, check should be considered invalid and documented as such. If checks were not completed every 14 days, determine and document reason(s) why and confirm checks that did occur passed acceptance criteria. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Levels 1 & 2: 1-point QC points within ± 10.1% (or +/- 1.5 ppb, whichever is greater) of the transfer standard value? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 58, Appendix A, Section 2.3.1.5
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Level 2: 1-point QC check percent differences calculated correctly? At least 10% and a minimum of 1 (whichever is greater) of 1-point QC checks should be verified. |  | L2 | [5 empty] | Review all 1-point QC check calculations. Confirm checks did pass acceptance criteria. If check(s) exceeded acceptance criteria, mark impacted data as void. If other compelling evidence exists to validate the data, document such information. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix A, Section 4.1.1
| Levels 1 & 2: Zero/span checks completed according to the SOP and at least every 14 days? |  | L1 | [5 empty] | If not completed according to SOP, check should be considered invalid and documented as such. If checks were not completed every 14 days, determine and document reason(s) why and confirm checks that did occur passed acceptance criteria. |  |  | QA Handbook Volume II, Section 12.3 and Appendix D
L2
| Levels 1 & 2: Zero points within ± 3.1 ppb over 24 hours? Zero points within ± 5.1 ppb over >24 hours - 14 days? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
|  |  | L2 | [8 empty] | Revision to the Zero Drift Acceptance Criteria in the QA Handbook (6/3/14)
| Levels 1 & 2: Span points within ± 10.1% of the transfer standard value? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
L2
| Level 2: Zero/span point differences calculated correctly? At least 10% and a minimum of 1 (whichever is greater) each of zero and span checks should be verified. |  | L2 | [5 empty] | Review all zero and/or span check calculations. Confirm checks did pass acceptance criteria. If check(s) exceeded acceptance criteria, mark impacted data as void. If other compelling evidence exists to validate the data, document such information. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix A, Section 4.1.1
Operational Criteria | Levels 1 & 2: Shelter temperature maintained within the allowable FRM/FEM temperature range? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | Technical Note - Clarifications and Guidance on Shelter Temperature Guidance for Ambient Air Pollutant Methods (3/8/18)
L2
| Levels 1 & 2: Shelter temperature within ± 2.1°C standard deviation over 24 hours? |  | L1 | [5 empty] | Document this issue. Determine if data may have been impacted. If so, data should be flagged in AQS. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
L2
| Level 2: Shelter temperature standard deviations calculated correctly? At least 10% and a minimum of 1 (whichever is greater) 24-hour period(s) should be verified. |  | L2 | [5 empty] | Review all shelter temperature standard deviation calculations. Determine if data may have been impacted. If so, data should be flagged in AQS. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Calibration or Multi-point Verification completed according to the SOP and within the past 182 days (or 365 days, if zero/span checks are performed daily)? |  | L1 | [5 empty] | If not completed according to SOP, calibration/verification should be considered invalid and documented as such. Associated data may need to be flagged due to an invalid calibration. If other compelling evidence exists to validate the data, document such information. If calibrations/verifications were not completed on schedule, determine and document reason(s) why. Confirm most recent calibration/verification that did occur passed acceptance criteria. |  |  | 40 CFR Part 50, Appendix A-1
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Levels 1 & 2: Calibration(s) and/or Multi-point Verification(s) results within ± 2.1% (or ± 1.5 ppb, whichever is greater) of the best-fit straight line? Slope within 1 ± 0.05? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". (EPA recommends the DASC tool be used for these calculations) |  | L1 | [5 empty] | Mark impacted concentration data as needing further review. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix A-1, Section 4.2.9
|  |  | L2 | [8 empty] | EPA Data Assessment Statistical Calculator (DASC) tool
| Level 2: Calibration(s) and/or Multi-point Verification(s) calculated correctly? At least 10% and a minimum of 1 (whichever is greater) should be verified. |  | L2 | [5 empty] | Review all calibration/verification calculations. Determine if data may have been impacted. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Maintenance performed according to the SOP and on schedule for the monitor, transfer standard, zero air source, and sample line/manifold? (See applicable maintenance checklist and/or SOP) |  | L1 | [5 empty] | Document this issue. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Appendix D
L2
Other Information | Level 1: All data logger status flags appropriate and accounted for in the dataset with AQS qualifier flags or null codes, as needed? |  | L1 | [5 empty] | Document all data logger flags observed. Determine if data may have been impacted.
| Level 1: Adequate and accurate logbook, strip chart, QC/QA, maintenance, and local significant/exceptional event documentation provided to recreate the events recorded? Level 2 only: At least 10% and a minimum of 1 (whichever is greater) of each record should be verified. |  | L1 | [5 empty] | Collect missing documentation (if it exists) for data review. If certain documentation does not exist, note this issue.
|  |  | L2 | [5 empty] | Review all documentation. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Concentration data gaps investigated and resolved? |  | L1 | [5 empty] | Document all data gaps observed. Determine if valid concentrations or appropriate null codes are available to fill these data gaps. Investigate possible causes/solutions to this issue.
L2
| Data Outlier(s) (e.g., high/low concentrations) and Probable Cause(s): |  | L1
| Reason(s) for 24+ Hours of Data Loss: |  | L1
| Other instrument-specific technical criteria: | L1
L2
| Other agency-specific criteria: | L1
L2
| Other comments: | L1
L2
| Level 1 Reviewer: |  | Signature/Initials: | [5 empty] | Date:
| Level 2 Reviewer: |  | Signature/Initials: | [5 empty] | Date:

## SO2 L3 ¦ MM-YYYY
Sulfur Dioxide Data Validation Checklist | [11 empty] | <Document Control ID>
Organization: |  | <Agency/Section> | [5 empty] | Data Reviewed: |  | <Month> | <Year> | Revision 0.0
Monitor(s) Reviewed: |  | <Site Name(s)/Monitor ID(s)> | [9 empty] | Last revised: July 2021
The following is a checklist designed to provide assistance to the Level 3 data reviewer (validator) of the associated sulfur dioxide dataset. The checklist should be used along with professional judgment and experience with the goal of validating data in a consistent and holistic manner. Generally, Level 3 data reviewers (e.g., QA manager) validate data on a monthly, quarterly, and/or annual frequency to verify completion of the Level 1 & 2 data reviews and ensure data is suitable for its intended use. To complete this checklist, the data validator must answer each question with a "X" in the "Yes", "No", or "N/A" column and provide comments in the "Comments" field in the corresponding row as needed. Information in the column second from the right is meant to detail the next steps to take if any problems are identified while reviewing the dataset. Some problems may highlight bigger issues related to the agency's quality system or certain personnel that must be addressed. For example, if an issue in the applicable QAPP or SOP is found, the document(s) should be revised as soon as possible to resolve that particular issue. Hyperlinks to relevent information are provided in the column furthest to the right. Once all questions have been answered, please provide your name, signature or initials, and date of the completion of this data review at the end of the checklist. Lastly, please retain a copy of the completed checklist for the agency's records either in hard-copy or in digital copy that is "locked" to any future edits to preserve the original record.
Please note: If compelling evidence is used for data decisions, EPA regional staff should be contacted for concurrence. These data decisions and associated compelling evidence must be made available to EPA regional staff as part of annual data certifications and technical systems audits.
Sulfur Dioxide Criteria (Level 3) |  |  |  | Yes | No | N/A | Comments |  | Agency Response to Criteria Not Met |  |  | References
Critical Criteria | Was the monitor operated in accordance with all FRM/FEM requirements provided in the method designation based on the information and documentation available? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | List of Designated Reference and Equivalent Mothods
| 1-point QC check completed at least every 14 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Confirm checks that did occur passed acceptance criteria. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
QA Handbook Volume II, Appendix D
| 1-point QC check completed according to the SOP at the correct concentration? Concentration appears stable on the strip chart (i.e., one-minute data)? Put another way, is the 1-point QC check considered valid? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentration does not appear stable, check should be considered invalid and documented as such. Invalid check results must not be uploaded to AQS. Rather, the "1C" null code should be uploaded in place of the invalid check. If not completed at the correct concentration, determine and document reason(s) why and possible solution(s). |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
Technical Note- Guidance on Statistics for Use of 1-Point QC Checks at Lower Concentrations as described in 40 CFR Part 58 Appendix A Section 3.1.1 (5/5/16)
QA Handbook Volume II, Section 10.4
| 1-point QC points within ± 10.1% (or ± 1.5 ppb, whichever is greater) of the transfer standard value? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | 40 CFR Part 58, Appendix A, Section 2.3.1.5
QA Handbook Volume II, Appendix D
| Zero/span checks completed at least every 14 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Confirm checks that did occur passed acceptance criteria. |  |  | QA Handbook Volume II, Section 12.3 and Appendix D
| Zero points within ± 3.1 ppb over 24 hours? Zero points within ± 5.1 ppb over >24 hours - 14 days? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
Revision to the Zero Drift Acceptance Criteria in the QA Handbook (6/3/14)
| Span points within ± 10.1% of the transfer standard value? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
| Zero/span points completed according to the SOP at the correct concentrations? Concentrations appear stable on the strip chart (i.e., one-minute data)? Put another way, are the zero/span checks considered valid? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentration does not appear stable, check should be considered invalid and documented as such. Invalid checks must not be uploaded to AQS. If not completed at the correct concentration, determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Section 10.4
Operational Criteria | Shelter temperature maintained within the allowable FRM/FEM temperature range? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | Technical Note - Clarifications and Guidance on Shelter Temperature Guidance for Ambient Air Pollutant Methods (3/8/18)
| Shelter temperature within ± 2.1°C standard deviation over 24 hours? | [7 empty] | Document this issue. Determine if data may have been impacted. If so, qualify the data in AQS. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
| Shelter temperature probe audited within the past 6 months using a NIST-traceable standard? | [7 empty] | Document this issue. Confirm checks or audits that did occur passed acceptance criteria. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
| Calibration or Multi-point Verification completed according to the SOP and within the past 182 days (or 365 days, if zero/span checks are performed daily)? | [7 empty] | Confirm most recent calibration/verification that did occur passed acceptance criteria. Determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Appendix D
| Calibration or Multi-point Verification completed according to the SOP at the correct concentrations? Concentrations appear stable on the strip chart (i.e., one-minute data)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentrations do not appear stable, calibration/verification should be considered invalid and documented as such. Associated data may need to be qualified or invalidated in AQS due to an invalid calibration. If other compelling evidence exists to validate the data, document such information. If not completed at the correct concentrations, determine and document reason(s) why and possible solution(s). |  |  | 40 CFR Part 50, Appendix A-1
QA Handbook Volume II, Sections 12.3 and 10.4
| Calibration(s) and/or Multi-point Verification(s) results within ± 2.1% (or ± 1.5 ppb, whichever is greater) of the best-fit straight line? Slope within 1 ± 0.05? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". (EPA recommends the DASC tool be used for these calculations) | [7 empty] | Associated data may need to be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix A-1, Section 4.2.9
EPA Data Assessment Statistical Calculator (DASC) tool
| No more than 3 calibrations (i.e., monitor adjustments) completed over the past 6 months? | [7 empty] | Determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Section 12.4
| Performance evaluation audit completed within the past 365 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Schedule an audit as soon as possible. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.2
| If a performance evaluation audit was completed in the past 3 months: Performance evaluation audit completed according to the SOP at the correct concentration levels? Concentrations appear stable on the strip chart (i.e., one-minute data)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentrations do not appear stable, audit should be considered invalid and documented as such. Invalid audits must not be uploaded to AQS. If not completed at the correct concentrations, determine and document reason(s) why and possible solution(s). Determine if a follow-up audit must be scheduled so that the correct audit concentrations may be assessed to meet CFR requirements. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.2.1
Technical Note- Guidance on Identifying Annual PE Audit Levels Using Method Detection Limits and the 99th Percentile (5/3/16)
QA Handbook Volume II, Section 10.4
| If a performance evaluation audit was completed in the past 3 months: Performance evaluation audit levels 3-10 within ± 15.1% of the independent audit standard? Audit levels 1-2 within ± 1.5 ppb or ± 15.1% of the independent audit standard, whichever is greater? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
Technical Guidance on Asessment Statistics for Annual Performance Evaluations (2/17/11)
| QC and performance evaluation transfer standards (e.g., gas dilution calibrator) certified according to the SOP and within the past 365 days? QC and performance evaluation gas cylinder standards within certification (i.e., not yet expired)? | [7 empty] | Determine and document reason(s) why and possible solution(s). QC check/audit completed with expired standards should be considered invalid and documented as such. Invalid checks/audits must not be uploaded to AQS. Rather, the "1C" null code should be uploaded in place of invalid 1-pt QC checks. For QC standards with expired certifications, determine if associated concentration data should be qualifed or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix A-1, Section 4
QA Handbook Volume II, Appendix D
| If an NPAP audit was completed in the past 3 months: NPAP audit levels 3-10 within ± 15.1% of the independent audit standard? NPAP audit levels 1-2 within ± 1.5 ppb of the independent audit standard? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
| Maintenance performed according to the SOP and on schedule for the monitor, transfer standard, zero air source, and sample line/manifold? (See applicable maintenance checklist and/or SOP) | [7 empty] | Document this issue. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Appendix D
Systematic | All siting criteria associated with the monitor (e.g., sample residence time, probe material, monitor probe distance to drip lines and obstacles, unobstructed airflow) met based on the most recent documented siting criteria evaluation? | [7 empty] | Document this issue. Determine the impact to associated data and if such data should be qualified in AQS. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix E
| If the sample residence time was calculated in the past month: Most recent monitor(s) sample residence time(s) calculated correctly? At least 10% and a minimum of 1 (whichever is greater) should be verified. | [7 empty] | Review recent sample residence time calculations for all monitors. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | Technical Note - Clarifications and Guidance on Residence Time Determination (6/3/19) & Associated Worksheet
Other Information | Concentration data gaps present? If so, was an investigation completed to determine the reason(s) why? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Document all data gaps observed. Determine if valid concentrations or appropriate null codes are available to fill these data gaps. Investigate possible causes/solutions to this issue.
| Maximum, minimum & at least 1 random concentration validated in the dataset as accurate in comparison with the data acquisition software? | [7 empty] | Increase the number of concentrations reviewed to determine the extent of the issue. Determine the impact to associated data. Investigate possible causes/solutions to this issue.
| Potential data outliers or unusual data (e.g., high/low concentrations) present? If so, was an investigation completed to determine the cause(s)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Document all outliers/unusual data points observed. Investigate possible causes/solutions to this issue. For example, review all available documentation and determine if data may have been impacted by a local event or QC procedure. Determine if concentration data should be qualified or invalidated in AQS. Unusually high/low concentration data should be handled with special care; if such data are invalidated, all necessary supporting documentation should be in place. Alert local management/EPA regarding any NAAQS exceedance(s).
| All logbook, strip chart, QC/QA, maintenance, and local significant/exceptional event documentation reviewed and taken into consideration? | [7 empty] | Collect missing documentation (if it exists). If certain documentation does not exist, note this issue. Investigate possible causes/solutions to this issue.
| Results of QC procedures from the previous dataset reviewed for possible impacts to the current dataset under review? | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS.
| QC procedures and maintenance routinely completed at times (i.e., overnight or early morning hours) that would cause minimal impact to daily data completeness? | [7 empty] | Document this issue. Determine if data statistics or design values may have been impacted. Investigate possible causes/solutions to this issue.
| If 24+ hours of data loss, was there an impact to the monitor's design value? | [7 empty] | Document this issue. Investigate possible causes/solutions to this issue.
Reason(s) for 24+ Hours of Data Loss:
Trends in the concentration dataset:
Trends in the QC/QA dataset:
Other agency-specific criteria:
Other comments:
| Level 3 Reviewer: |  | Signature/Initials: | [5 empty] | Date:

## NO2 L1-2 ¦ MM-YYYY
Nitrogen Dioxide Data Verification Checklist | [11 empty] | <Document Control ID>
Organization: |  | <Agency/Section> | [5 empty] | Data Reviewed: |  | <Month> | <Year> | Revision 0.0
Monitor(s) Reviewed: |  | <Site Name(s)/Monitor ID(s)> | [9 empty] | Last revised: July 2021
The following is a checklist designed to provide assistance to the Levels 1 and 2 data reviewers of the associated nitrogen dioxide dataset. The checklist should be used along with professional judgment and experience with the goal of verifying data in a consistent and holistic manner. Generally, Level 1 and 2 data reviewers (e.g., site operators, QA staff) verify data on a daily, monthly, and/or quarterly frequency to distinguish measurements from measurement errors/interferences and to ensure data meets QC/QA requirements and the objectives of the data's intended use. To complete this checklist, the Level 1 data verifier must answer each question with a "X" in the "Yes", "No", or "N/A" column wherever an "L1" is found in the corresponding row. Similarly, the Level 2 data verifier must answer each question that contains "L2" in the corresponding row. After answering each question, please provide comments in the "Comments" field in the corresponding row as needed. Information in the column second from the right is meant to detail the next steps to take if any problems are identified while reviewing the dataset. Some problems may highlight bigger issues related to the agency's quality system or personnel training that must be addressed. For example, if an issue in the applicable QAPP or SOP is found, the document(s) should be revised as soon as possible to resolve that particular issue. Hyperlinks to relevent information are provided in the column furthest to the right. Once all questions have been answered, please provide your name, signature or initials, and date of the completion of this data review at the end of the checklist. Please provide a copy of the completed checklist and, if applicable, any associated paperwork (e.g., data worksheets, QC check forms, logbook documentation) to the next level data reviewer (i.e., Level 2 or Level 3). Retain a copy of the completed checklist for your records either in hard-copy or in digital copy that is "locked" to any future edits to preserve the original record.
Nitrogen Dioxide Criteria (Levels 1-2) |  |  | L1/2 | Yes | No | N/A | Comments |  | Recommended Response to Criteria Not Met |  |  | References
Critical Criteria | Levels 1 & 2: 1-point QC checks completed according to the SOP and at least every 14 days? |  | L1 | [5 empty] | If not completed according to SOP, check should be considered invalid and documented as such. If checks were not completed every 14 days, determine and document reason(s) why and confirm checks that did occur passed acceptance criteria. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Levels 1 & 2: 1-point QC points within ± 15.1% (or ± 1.5 ppb, whichever is greater) of the transfer standard value? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 58, Appendix A, Section 2.3.1.4
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Level 2: 1-point QC check percent differences calculated correctly? At least 10% and a minimum of 1 (whichever is greater) of 1-point QC checks should be verified. |  | L2 | [5 empty] | Review all 1-point QC check calculations. Confirm checks did pass acceptance criteria. If check(s) exceeded acceptance criteria, mark impacted data as void. If other compelling evidence exists to validate the data, document such information. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix A, Section 4.1.1
| Levels 1 & 2: Zero/span checks completed according to the SOP and at least every 14 days? |  | L1 | [5 empty] | If not completed according to SOP, check should be considered invalid and documented as such. If checks were not completed every 14 days, determine and document reason(s) why and confirm checks that did occur passed acceptance criteria. |  |  | QA Handbook Volume II, Section 12.3 and Appendix D
L2
| Levels 1 & 2: Zero points within ± 3.1 ppb over 24 hours? Zero points within ± 5.1 ppb over >24 hours - 14 days? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
|  |  | L2 | [8 empty] | Revision to the Zero Drift Acceptance Criteria in the QA Handbook (6/3/14)
| Levels 1 & 2: Span points within ± 10.1% of the transfer standard value? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
L2
| Level 2: Zero/span point differences calculated correctly? At least 10% and a minimum of 1 (whichever is greater) each of zero and span checks should be verified. |  | L2 | [5 empty] | Review all zero and/or span check calculations. Confirm checks did pass acceptance criteria. If check(s) exceeded acceptance criteria, mark impacted data as void. If other compelling evidence exists to validate the data, document such information. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix A, Section 4.1.1
Operational Criteria | Levels 1 & 2: Shelter temperature maintained within the allowable FRM/FEM temperature range? |  | L1 | [5 empty] | Mark impacted concentration data as void. If other compelling evidence exists to validate the data, document such information. |  |  | Technical Note - Clarifications and Guidance on Shelter Temperature Guidance for Ambient Air Pollutant Methods (3/8/18)
L2
| Levels 1 & 2: Shelter temperature within ± 2.1°C standard deviation over 24 hours? |  | L1 | [5 empty] | Document this issue. Determine if data may have been impacted. If so, data should be flagged in AQS. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
L2
| Level 2: Shelter temperature standard deviations calculated correctly? At least 10% and a minimum of 1 (whichever is greater) 24-hour period(s) should be verified. |  | L2 | [5 empty] | Review all shelter temperature standard deviation calculations. Determine if data may have been impacted. If so, data should be flagged in AQS. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Calibration or Multi-point Verification completed according to the SOP and within the past 182 days (or 365 days, if zero/span checks are performed daily)? |  | L1 | [5 empty] | If not completed according to SOP, calibration/verification should be considered invalid and documented as such. Associated data may need to be flagged due to an invalid calibration. If other compelling evidence exists to validate the data, document such information. If calibrations/verifications were not completed on schedule, determine and document reason(s) why. Confirm most recent calibration/verification that did occur passed acceptance criteria. |  |  | 40 CFR Part 50, Appendix F
|  |  | L2 | [8 empty] | QA Handbook Volume II, Appendix D
| Levels 1 & 2: Calibration(s) and/or Multi-point Verification(s) results within ± 2.1% (or ± 1.5 ppb, whichever is greater) of the best-fit straight line? Slope within 1 ± 0.05? Instrument residence time < 2 minutes? Dynamic parameter > 2.75 ppm-minute? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". (EPA recommends the DASC tool be used for these calculations) |  | L1 | [5 empty] | Mark impacted concentration data as needing further review. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix F
|  |  | L2 | [8 empty] | EPA Data Assessment Statistical Calculator (DASC) tool
| Level 2: Calibration(s) and/or Multi-point Verification(s) calculated correctly? At least 10% and a minimum of 1 (whichever is greater) should be verified. |  | L2 | [5 empty] | Review all calibration/verification calculations. Determine if data may have been impacted. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Maintenance performed according to the SOP and on schedule for the monitor, transfer standard, zero air source, and sample line/manifold? (See applicable maintenance checklist and/or SOP) |  | L1 | [5 empty] | Document this issue. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Appendix D
L2
Other Information | Level 1: All data logger status flags appropriate and accounted for in the dataset with AQS qualifier flags or null codes, as needed? |  | L1 | [5 empty] | Document all data logger flags observed. Determine if data may have been impacted.
| Level 1: Adequate and accurate logbook, strip chart, QC/QA, maintenance, and local significant/exceptional event documentation provided to recreate the events recorded? Level 2 only: At least 10% and a minimum of 1 (whichever is greater) of each record should be verified. |  | L1 | [5 empty] | Collect missing documentation (if it exists) for data review. If certain documentation does not exist, note this issue.
|  |  | L2 | [5 empty] | Review all documentation. Investigate possible causes/solutions to this issue.
| Levels 1 & 2: Concentration data gaps investigated and resolved? |  | L1 | [5 empty] | Document all data gaps observed. Determine if valid concentrations or appropriate null codes are available to fill these data gaps. Investigate possible causes/solutions to this issue.
L2
| Data Outlier(s) (e.g., high/low concentrations) and Probable Cause(s): |  | L1
| Reason(s) for 24+ Hours of Data Loss: |  | L1
| Other instrument-specific technical criteria: | L1
L2
| Other agency-specific criteria: | L1
L2
| Other comments: | L1
L2
| Level 1 Reviewer: |  | Signature/Initials: | [5 empty] | Date:
| Level 2 Reviewer: |  | Signature/Initials: | [5 empty] | Date:

## NO2 L3 ¦ MM-YYYY
Nitrogen Dioxide Data Validation Checklist | [11 empty] | <Document Control ID>
Organization: |  | <Agency/Section> | [5 empty] | Data Reviewed: |  | <Month> | <Year> | Revision 0.0
Monitor(s) Reviewed: |  | <Site Name(s)/Monitor ID(s)> | [9 empty] | Last revised: July 2021
The following is a checklist designed to provide assistance to the Level 3 data reviewer (validator) of the associated nitrogen dioxide dataset. The checklist should be used along with professional judgment and experience with the goal of validating data in a consistent and holistic manner. Generally, Level 3 data reviewers (e.g., QA manager) validate data on a monthly, quarterly, and/or annual frequency to verify completion of the Level 1 & 2 data reviews and ensure data is suitable for its intended use. To complete this checklist, the data validator must answer each question with a "X" in the "Yes", "No", or "N/A" column and provide comments in the "Comments" field in the corresponding row as needed. Information in the column second from the right is meant to detail the next steps to take if any problems are identified while reviewing the dataset. Some problems may highlight bigger issues related to the agency's quality system or certain personnel that must be addressed. For example, if an issue in the applicable QAPP or SOP is found, the document(s) should be revised as soon as possible to resolve that particular issue. Hyperlinks to relevent information are provided in the column furthest to the right. Once all questions have been answered, please provide your name, signature or initials, and date of the completion of this data review at the end of the checklist. Lastly, please retain a copy of the completed checklist for the agency's records either in hard-copy or in digital copy that is "locked" to any future edits to preserve the original record.
Please note: If compelling evidence is used for data decisions, EPA regional staff should be contacted for concurrence. These data decisions and associated compelling evidence must be made available to EPA regional staff as part of annual data certifications and technical systems audits.
Nitrogen Dioxide Criteria (Level 3) |  |  |  | Yes | No | N/A | Comments |  | Agency Response to Criteria Not Met |  |  | References
Critical Criteria | Was the monitor operated in accordance with all FRM/FEM requirements provided in the method designation based on the information and documentation available? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | List of Designated Reference and Equivalent Mothods
| 1-point QC check completed at least every 14 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Confirm checks that did occur passed acceptance criteria. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
QA Handbook Volume II, Appendix D
| 1-point QC check completed according to the SOP at the correct concentration? Concentration appears stable on the strip chart (i.e., one-minute data)? Put another way, is the 1-point QC check considered valid? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentration does not appear stable, check should be considered invalid and documented as such. Invalid check results must not be uploaded to AQS. Rather, the "1C" null code should be uploaded in place of the invalid check. If not completed at the correct concentration, determine and document reason(s) why and possible solution(s). |  |  | 40 CFR Part 58, Appendix A, Section 3.1.1
Technical Note- Guidance on Statistics for Use of 1-Point QC Checks at Lower Concentrations as described in 40 CFR Part 58 Appendix A Section 3.1.1 (5/5/16)
QA Handbook Volume II, Section 10.4
| 1-point QC points within ± 15.1% (or ± 1.5 ppb, whichever is greater) of the transfer standard value? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | 40 CFR Part 58, Appendix A, Section 2.3.1.4
QA Handbook Volume II, Appendix D
| Zero/span checks completed at least every 14 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Confirm checks that did occur passed acceptance criteria. |  |  | QA Handbook Volume II, Section 12.3 and Appendix D
| Zero points within ± 3.1 ppb over 24 hours? Zero points within ± 5.1 ppb over >24 hours - 14 days? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
Revision to the Zero Drift Acceptance Criteria in the QA Handbook (6/3/14)
| Span points within ± 10.1% of the transfer standard value? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | QA Handbook Volume II, Appendix D
| Zero/span points completed according to the SOP at the correct concentrations? Concentrations appear stable on the strip chart (i.e., one-minute data)? Put another way, are the zero/span checks considered valid? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentration does not appear stable, check should be considered invalid and documented as such. Invalid checks must not be uploaded to AQS. If not completed at the correct concentration, determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Section 10.4
Operational Criteria | Shelter temperature maintained within the allowable FRM/FEM temperature range? | [7 empty] | Invalidate impacted concentration data with an appropriate AQS null code. If other compelling evidence exists to validate the data or the data indicate a NAAQS exceedance, document such information. |  |  | Technical Note - Clarifications and Guidance on Shelter Temperature Guidance for Ambient Air Pollutant Methods (3/8/18)
| Shelter temperature within ± 2.1°C standard deviation over 24 hours? | [7 empty] | Document this issue. Determine if data may have been impacted. If so, qualify the data in AQS. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
| Shelter temperature probe audited within the past 6 months using a NIST-traceable standard? | [7 empty] | Document this issue. Confirm checks or audits that did occur passed acceptance criteria. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Section 7.2.2
| Calibration or Multi-point Verification completed according to the SOP and within the past 182 days (or 365 days, if zero/span checks are performed daily)? | [7 empty] | Confirm most recent calibration/verification that did occur passed acceptance criteria. Determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Appendix D
| Calibration or Multi-point Verification completed according to the SOP at the correct concentrations? Concentrations appear stable on the strip chart (i.e., one-minute data)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentrations do not appear stable, calibration/verification should be considered invalid and documented as such. Associated data may need to be qualified or invalidated in AQS due to an invalid calibration. If other compelling evidence exists to validate the data, document such information. If not completed at the correct concentrations, determine and document reason(s) why and possible solution(s). |  |  | 40 CFR Part 50, Appendix F
QA Handbook Volume II, Sections 12.3 and 10.4
| Calibration(s) and/or Multi-point Verification(s) results within ± 2.1% (or ± 1.5 ppb, whichever is greater) of the best-fit straight line? Slope within 1 ± 0.05? Instrument residence time < 2 minutes? Dynamic parameter > 2.75 ppm-minute? Only answer "Yes" if the answer to all questions is "yes". Otherwise, answer "No". (EPA recommends the DASC tool be used for these calculations) | [7 empty] | Associated data may need to be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix F
EPA Data Assessment Statistical Calculator (DASC) tool
| No more than 3 calibrations (i.e., monitor adjustments) completed over the past 6 months? | [7 empty] | Determine and document reason(s) why and possible solution(s). |  |  | QA Handbook Volume II, Section 12.4
| Performance evaluation audit completed within the past 365 days? | [7 empty] | Determine and document reason(s) why and possible solution(s). Schedule an audit as soon as possible. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.2
| If a performance evaluation audit was completed in the past 3 months: Performance evaluation audit completed according to the SOP at the correct concentration levels? Concentrations appear stable on the strip chart (i.e., one-minute data)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | If not completed according to SOP and/or concentrations do not appear stable, audit should be considered invalid and documented as such. Invalid audits must not be uploaded to AQS. If not completed at the correct concentrations, determine and document reason(s) why and possible solution(s). Determine if a follow-up audit must be scheduled so that the correct audit concentrations may be assessed to meet CFR requirements. |  |  | 40 CFR Part 58, Appendix A, Section 3.1.2.1
Technical Note- Guidance on Identifying Annual PE Audit Levels Using Method Detection Limits and the 99th Percentile (5/3/16)
QA Handbook Volume II, Section 10.4
| If a performance evaluation audit was completed in the past 3 months: Performance evaluation audit levels 3-10 within ± 15.1% of the independent audit standard? Audit levels 1-2 within ± 1.5 ppb or ± 15.1% of the independent audit standard, whichever is greater? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
Technical Guidance on Asessment Statistics for Annual Performance Evaluations (2/17/11)
| QC and performance evaluation transfer standards (e.g., gas dilution calibrator) certified according to the SOP and within the past 365 days? QC and performance evaluation gas cylinder standards within certification (i.e., not yet expired)? | [7 empty] | Determine and document reason(s) why and possible solution(s). QC check/audit completed with expired standards should be considered invalid and documented as such. Invalid checks/audits must not be uploaded to AQS. Rather, the "1C" null code should be uploaded in place of invalid 1-pt QC checks. For QC standards with expired certifications, determine if associated concentration data should be qualifed or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | 40 CFR Part 50, Appendix F
QA Handbook Volume II, Appendix D
| If an NPAP audit was completed in the past 3 months: NPAP audit levels 3-10 within ± 15.1% of the independent audit standard? NPAP audit levels 1-2 within ± 1.5 ppb of the independent audit standard? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS. If other compelling evidence exists to validate the data, document such information. |  |  | QA Handbook Volume II, Appendix D
| Maintenance performed according to the SOP and on schedule for the monitor, transfer standard, zero air source, and sample line/manifold? (See applicable maintenance checklist and/or SOP) | [7 empty] | Document this issue. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | QA Handbook Volume II, Appendix D
Systematic | All siting criteria associated with the monitor (e.g., sample residence time, probe material, monitor probe distance to drip lines and obstacles, unobstructed airflow) met based on the most recent documented siting criteria evaluation? | [7 empty] | Document this issue. Determine the impact to associated data and if such data should be qualified in AQS. Investigate possible causes/solutions to this issue. |  |  | 40 CFR Part 58, Appendix E
| If the sample residence time was calculated in the past month: Most recent monitor(s) sample residence time(s) calculated correctly? At least 10% and a minimum of 1 (whichever is greater) should be verified. | [7 empty] | Review recent sample residence time calculations for all monitors. Determine if data may have been impacted. Investigate possible causes/solutions to this issue. |  |  | Technical Note - Clarifications and Guidance on Residence Time Determination (6/3/19) & Associated Worksheet
Other Information | Concentration data gaps present? If so, was an investigation completed to determine the reason(s) why? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Document all data gaps observed. Determine if valid concentrations or appropriate null codes are available to fill these data gaps. Investigate possible causes/solutions to this issue.
| Maximum, minimum & at least 1 random concentration validated in the dataset as accurate in comparison with the data acquisition software? | [7 empty] | Increase the number of concentrations reviewed to determine the extent of the issue. Determine the impact to associated data. Investigate possible causes/solutions to this issue.
| Potential data outliers or unusual data (e.g., high/low concentrations) present? If so, was an investigation completed to determine the cause(s)? Only answer "Yes" if the answer to both questions is "yes". Otherwise, answer "No". | [7 empty] | Document all outliers/unusual data points observed. Investigate possible causes/solutions to this issue. For example, review all available documentation and determine if data may have been impacted by a local event or QC procedure. Determine if concentration data should be qualified or invalidated in AQS. Unusually high/low concentration data should be handled with special care; if such data are invalidated, all necessary supporting documentation should be in place. Alert local management/EPA regarding any NAAQS exceedance(s).
| All logbook, strip chart, QC/QA, maintenance, and local significant/exceptional event documentation reviewed and taken into consideration? | [7 empty] | Collect missing documentation (if it exists). If certain documentation does not exist, note this issue. Investigate possible causes/solutions to this issue.
| Results of QC procedures from the previous dataset reviewed for possible impacts to the current dataset under review? | [7 empty] | Determine if concentration data should be qualified or invalidated in AQS.
| QC procedures and maintenance routinely completed at times (i.e., overnight or early morning hours) that would cause minimal impact to daily data completeness? | [7 empty] | Document this issue. Determine if data statistics or design values may have been impacted. Investigate possible causes/solutions to this issue.
| If 24+ hours of data loss, was there an impact to the monitor's design value? | [7 empty] | Document this issue. Investigate possible causes/solutions to this issue.
Reason(s) for 24+ Hours of Data Loss:
Trends in the concentration dataset:
Trends in the QC/QA dataset:
Other agency-specific criteria:
Other comments:
| Level 3 Reviewer: |  | Signature/Initials: | [5 empty] | Date: